## Sheet1
Schedule of Rates Project No: BGPNT Location: 61-63 Pittwater Rd Manly Work: EXTERNAL PAINTING AND OTHER ASSOCIATED WORKS
Notes to Tenderers:
Tenderers shall provide Schedule of Rates for the above works to the items listed below. All items in the Schedule of Rates shall be read in conjunction with the Department of Housing and project Specification. All items included in the Schedule of Rates shall be priced and extended by the Tenderer and the price as extended shall, result in a total sum, which will be the means of assessment of Tender. All quantities shown are intended as a guide only for comparison of Tenders and shall not be construed to be the amount of work, which will actually be required to be paid for under the various items of works. Where applicable, the Tendered price shall include access equipment to successfully complete the item of work.
Item | Description | Unit | QTY | Rate | Amount | Comments
1 | Site establishment Site establishment costs, including Dilapidation report, wastewater management, temporary fencing, propping and erection of all signs and necessary protective structure to protect persons and property, and removal of the same on completion. Access arrangement including scaffolding, Class B hoarding. Price shall include liaison with local council, Council application and approval fees, site and traffic management to comply with council's requirement. Allow for all cost of compliance with working near overhead power lines. | Item | 1
2 | Front balcony - Prepare, prime and paint all previously painted surfaces in approved colour scheme (01 Project Specific Documents - Architect Report). Price shall allow for inspection and minor repair Framing works a. Remove existing boarding lining to expose the balcony steel beam and timber joist b. Engineer inspect and certify balcony steel beam and timber joist. Recommend any repair works may need c. Remove brick locally to the connection of the steel beams to the outer skin of the brick wall to expose the steel beam, reinstate the brickworks, allow for minor repair works d. Remove protection coating and corrosion from the steel beam and apply new corrosion protection coat in situ e. Repair damaged timber joists if decay or termite damage is detected f. Supply and install 12mm fire rated fibre cement soffit lining, paint to approved colour (Approx. 32m²) Metal brackets a. Remove the existing metal feature bracker, remove paint and rust by wet grit blasting b. Allow for minor repair damaged section by welding in new splice sections as necessary c. prime and paint the metal brackets d. Refix the metal brackets to wall with stainless steel bolts | Item | 1
Replace Timber elements and rusted bolts a. Temporary propping to support the structure b. Inspect all timber element, allow for minor repair, replace rusted bolts with stainless steel bolts c. Replace the southeast corner post Roof a. Allow for re-fix roof sheeting b. Inspect roofing, repair or replace as required.
3 | Front tiled areas - Price allow for carefully remove and replace the chipped and broken tile and copping tile, covering, protecting surfaces | Item | 1
4 | Level 1 & 2 side balconies - Prepare, prime and paint all previously painted surfaces in approved colour scheme (01 Project Specific Documents - Architect Report). Price shall allow for inspection and minor repair a. Remove and replace rusted bolts with stainless steel bolts, allow for temporary propping the structure b. Clean metal screen | Item | 1
5 | Level 3 Side balconies - Prepare, prime and paint all previously painted surfaces in approved colour scheme (01 Project Specific Documents - Architect Report). Price shall allow for inspection and minor repair a. Remove cladding from the deck of the balcony to allow inspection the floor structure. b. Engineer inspect and certify balcony steel structure and timber joist. Recommend any repair works may need c. Remove protection coating and corrosion from the steel structure and apply new corrosion protection coat in situ. Allow to weld strengthening plate onto the steel frame at areas of severe corrosion. d. Supply and install 12mm fire rated fibre cement soffit lining, paint to approved colour (Approx. 9m²) e. Remmove and replace rusted gutter f. Inspect downpipes, flashings, roofing screws, and replace any deteriorated items. | Item | 1
6 | External painted surface - Prepare, prime and paint all previously painted surface in approved colour scheme (01 Project Specific Documents - Architect Report), including Windows, Doors, Brick walls and brick trims/banding. Price shall allow for minor repair a. Check the windows and doors operability prior painting b. Minor repair and adjustment to windows and doors | Item | 1
7 | Fence, Portico, Gate, Gable - Prepare, prime and paint all previously painted surfaces in approved colour scheme (01 Project Specific Documents - Architect Report). Price shall allow for repair damaged elements and replace missing elements. a. Supply and install "ball" type timber post capitals b. Remove and replace rotten timber fence and other timber elements c. Repair damaged brick piers | Item | 1
8 | Remove and dispose existing timber cloth drying area fence as directed. Supply and install 1800mm metal perforated fence with steel posts | Item | 1
TOTAL CONTRACT SUM (Items 1 – 8 inclusive) Including GST |  |  |  |  | $
Rate only Items
1 | Remove and replace timber frame double hung window 970 x 1200mm | Each | 1
2 | Remove and replace timber frame double hung window 970 x 1800mm | Each | 1
The cost involved in meeting the requirements of the Occupational Health and Safety Act 2000 is fully included in this Tender/Quotation. The Schedule of Rates shall include the supply of all labour, materials, overheads and profits necessary to complete the job.
For and on behalf of (Contractor) :
(Busines Name)
(Trading Name - if applicable) .
Authorised Signatory : __________________________ Date : _______________
NOTE : STATUTORY DECLARATION “CONDUCT OF TENDERERS” TO BE PROVIDED WITH QUOTATION.
Contractor’s Signature : _________________________ Date : _______________ Complete this form by including the rates and totals for each item, and submit the form with the tender/quotation.
TENDER NO. BGPNT ADDRESS: 61-63 Pittwater Rd Manly Day Work Rates Where in accordance with the Contract additional work is ordered on a ‘day work’, ‘do and charge’, or ‘direct labour’ basis thereof to be added to the Contract Sum. Prices shall include, profits, overheads, supervision and other preliminaries.
Labour Rates (Including GST):
Plasterer $................ Per ordinary hour Painter $................ Per ordinary hour Labourer $................ Per ordinary hour Concreter $................ Per ordinary hour Carpenter $................ Per ordinary hour Bricklayer $................ Per ordinary hour Plumber/Drainer $................ Per ordinary hour Tenderer’s Signature: ________________________________ Date: __________________